This brief is being provided to inform the board, staff, and public of the details of an agenda item that requires no action from the board. The President of the Board will provide board members, staff, and the public the opportunity to ask questions about this topic when this agenda item is announced.

**Date: 9/23/2021**

**Originator:** Assistant GM/Lead Operator

**Agenda Topic Title: Field Report**

**Purpose of Brief:** Informational Briefing

**Supporting Documents Included: No**

**Water Distribution System:**

### Well 37 Deer Trail.

Well 37 completed and online.

### 

.

**Water Distribution Power Grant**

We have completed all access roads in the booster stations.

We have formed and poured 4 of the three generator concrete slabs.

We plan to complete the other two slabs by Oct 1

### Sewer Transmission System and Septic Tanks:

**Septic tank inspection program**

* TheSeptic tank pumping program is moving along now that the Wildfires are over. I am working on a permanent solution for pumping tanks out.
* We have started the 2021 Septic tank inspection program and are about 1/3 of the way through.
* Gorge T Hull has reprogrammed the FWLF Dosing Station computer to

maximize the perk rate.

* Falling Water Leach Field Expansion, Phase 1 plan, CME Engineering is to complete their perk test on the 21st of July.